BASIC DESIGN CRITERIA

CITY OF WINNEMUCCA BUILDING DEPARTMENT

90 W. FOURTH STREET

WINNEMUCCA, NEVADA 89445

775-623-6319

775-623-6321- FAX

wmcasac@winnemuccacity.org

Seismic Design Category – D (D1)

Live Load – 20 lbs

Ground Snow Load – 5 lb

Ultimate Wind Speeds

Risk Category I = 105 (V-Ult)

Risk Category II = 115 (V-Ult)

Risk Category III = 120 (V-Ult)

Exposure C

Frost Depth – 24”

The following codes have been adopted by the City of Winnemucca (WMC 15.04):

2012 International Building Code

2012 International Residential Code

2011 National Electrical Code

2012 Uniform Mechanical Code

2012 Uniform Plumbing Code

2012 International Fire Code

1997 Uniform Housing Code

2009 International Energy Conservation Code

1997 Uniform Code for the Abatement of Dangerous Buildings

2012 International Property Maintenance Code

2012 International Swimming Pool and Spa code

2009 ICC A117.1 Accessible and Usable Buildings and Facilities)

See Winnemucca Municipal Code 15.04 for amendments to the codes.